## Slide 1: Tips & Tricks
Futura17 Tips & Tricks
By: Jody Picou & Brant Hood
Staking Tips & Tricks
Futura17 Tips & Tricks

## Slide 2
Tips & Tricks Overview
Futura17 Tips & Tricks
Futura17 User Conference
Search Tolerance
Off-Set Tool
Change-Out Status
Adding Basemaps
Creating Open Points
Changing Attributes on Existing Features
Copy Job Function
Creating Favorites

## Slide 3
The Search Tolerance option is located under the Job / Snapping.
When creating a location the search tolerance value will select any Construction Unit within that range.
Tips & Tricks
Futura17 Tips & Tricks
Futura17 User Conference
Search Tolerance
Search tolerance can be used to select poles that are not snapped to primary conductor end point, secondary under-build, parallel runs of conductor and more.
Search Tolerance Examples
Example 1 : Creating a Location to retire Secondary Under-Build
Example 2: Creating a Location where the Structure is not snapped to the Primary Conductor end point

## Slide 4
Off-Set Tool
Tips & Tricks
The Off-Set Tool is located under the OH drop down menu.
This tool is mostly used for UG subdivisions but could also be used for many other job scenarios.
Search Tolerance Examples
The Off-Set tool allows you to select existing line features or new line features and set a pre-defined distance in which you new line feature will run parallel.
Example 1 : Selecting a road and setting an off-set distance
Example 2: Creating Locations while using the Off-Set tool and maneuvering through objects
Futura17 Tips & Tricks
Futura17 User Conference

## Slide 5
Futura17 Tips & Tricks
Tips & Tricks
Change-Out Features
The Change-Out option will be located on the status menu when you (Right) click on an Existing unit. Change-outs are only applicable on Existing features.
Change-Out Examples
The Change-Out option was developed for a simple retirement and install of the same feature. This option is very useful for any feature that carries pertinent attribute information.
Example 1 : Change-Out an Existing Pole and Transformer
Example 2: Change-Out a consumer as if a Temp to Perm service install
Futura17 User Conference

## Slide 6
Futura17 Tips & Tricks
Tips & Tricks
Adding Basemaps
Adding Basemaps allows you to insert background data to your mxd.
You can add Basemaps through ESRI or create layer files from other aerial data sources.
Basemap Examples
Adding Basemaps will help you visually during the job creation process but could slow your map performance.
Example 1 : Add Basemap using the ESRI – Add Basmaps option
Example 2: Add Basemap via Layer File
Futura17 User Conference

## Slide 7
Futura17 Tips & Tricks
Tips & Tricks
Changing Attributes on Existing Features
When a unit comes in as Existing you can change attribute information and during the post to GIS process these attributes will be changed.
Changing Attributes on Existing Feature Examples
Changing attributes can be very helpful for data correction and upgrading phasing.
Example 1 : Demonstrate what attributes can be changed and how to change them
Futura17 User Conference

## Slide 8
Futura17 Tips & Tricks
Tips & Tricks
Creating / Staking through Open Points
Creating open points can be done during the staking process through different staking techniques. When staking through an open point, you should allows stake in the direction of flow.
Creating / Staking through Open Points
Examples
There are several ways to create open points. We will cover two ways that allow the open point to be created in GIS.
Example 1 : Create an Open Point using the Enabled = Flase on Primary Conductor and protective device
Example 2: Stake through an open point while maintaining with flow method
Futura17 User Conference

## Slide 9
Futura17 Tips & Tricks
Tips & Tricks
Copy Job Function
The Copy Job function is located under the Job tool on the Futura Staking Toolbar. In order to utilize the Copy Job function you must not be editing a job.
Copy Job Function Examples
The Copy Job function can be used in many job scenarios. Some of the most common are: Cost between OH & UG, splitting a staking job into multiple work orders and staking on top of an existing staked jobs on your computer.
Example 1: Copy a work order in order to determine the cost difference
Futura17 User Conference
Example 2: Split UG and OH into 2 separate work orders

## Slide 10
Futura17 Tips & Tricks
Tips & Tricks
Re-Name Job Tool
The Re-Name job tool allows you to convert a real work order into a different real work order number. You also have the option to re-name temporary jobs however it is not utilized much.
Re-Name Job Tool Examples
From time to time you may accidentally stake a work order and apply the staked assemblies to the wrong number. No worries, we can show you how to fix that!!
Example 1: Convert an incorrect work order number to the correct work order
Futura17 User Conference

## Slide 11
Futura17 Tips & Tricks
Tips & Tricks
Creating Favorites
There are many different names for it but we call it creating favorites. This allows you to group assemblies into one “favorite” unit.
Creating Favorites Examples
Creating favorites can be a huge help and speed up the job drawing process. The units on your job may vary from time to time but I always say “it’s easier to delete (or change) one than add 5”.
Example 1: Create a favorite outside of an edit session
Futura17 User Conference
Example 2: Create a favorite while drawing a job using the Location / Add To Palette

## Slide 12
Futura17 Tips & Tricks
Futura Staking
Implementation Team
Brant Hood – branth@futuragis.com
Jody Picou – jodyp@futuragis.com
Drew Henry – drewh@futuragis.com
Jessica Su – jessicas@futuragis.com
Futura17 User Conference